## TWI II
TWI II onderdelen
Nr. | Omschrijving | Description | Gas | TWI II
Part number
1 | Sensor kit | Sensor Kit Eco Honeywell |  | 0313306(S)
2 | Luchtdrukschakelaar | Pressure Switch |  | 0324512(S)
3 | Brander en pakkingset | Burner |  | 0313305(S)
4 | Ventilator en pakkingset | Kit,Blower Assy RG-148 |  | 0313313(S)
5 | Vonkontsteker | Spark Igniter |  | 0313304(S)
6 | Gasblok | Gas Valve |  | 0313302(S)
7 | Control Board Assy | Control Board Assy |  | 0313312(S)
8 | Aftapkraan | Drain Valve |  | 6907316(S)
9 | Zekeringhouder | Fuse Holder |  | 0313362(S)
10 | Zekering | Fuse |  | 0313361(S)
11 | Condenspot | Condensate Drain Assy |  | 0313290(S)
12 | Venturi mof | Connector Venturi Assy |  | 0313291(S)
13 | Water Inlaatbuis | Water Inlet tube |  | 0313310(S)
14 | Luchtinlaatfilter | Air Inlet Filter |  | 3710169 (S)
15 | Sensor | Sensor Kit |  | 0313301(S)
16 | Aan/uit schakelaar | Kit Swich On/Off |  | 0313309(S)
17 | Vonktransformator | Ignition,Transformer Cabel Assy |  | 0313311(S)
18 | Ionisatiepen | Flame Rod Assy |  | 0313303(S)
19 | Display | Kit,Uim Assy,NX-Gen,PRG,Gen,W/Srews |  | 0313308(S)
20 | Behuizing | Kit,Display,Uim,Bezel,TWI,W/Screws |  | 0313307(S)
21 | Verloop aftapkraan | Hose connector Drain Valve |  | 0070065(S)
TWI II ombouwsets
| Omschrijving | Description | Gas | TWI II
Part number
| Ombouwset naar LP gas | Conv. Set to LP |  | 0313335(S)
| Ombouwset naar NAT gas | Conv. Set to NAT |  | 0313336(S)
TWI II accessoires
| Omschrijving | Description | Gas | TWI II
Part number
| Gaskraan | Gas Cock |  | 0300719(S)
| Inlaatcombinatie | Inlet Security Group |  | 0070066003(S)
| Dscale (set met toebehoren) | Dscale (set with components) |  | 0307564(S)
| Dscale (doos met 6 flessen) | Dscale (box with 6 bottles) |  | 0311398(S)
| T&P valve | T&P valve |  | 0306755(S)
| Doorstroom begrenzer | Flow Restrictor build in 3/4" - 12 l/min. |  | 0309730(S)
|  | Flow Restrictor build in 3/4" - 10 l/min. |  | 0309731(S)
|  | Flow Restrictor build in 3/4" - 8 l/min. |  | 0309732(S)
|  | Flow Restrictor build in 3/4" - 6 l/min. |  | 0309733(S)